## Montenegro
PROJECT CONSTRUCTION ESTIMATE
PROJECT TITLE | CONSTRUCTION OF 2 STOREY OFFICE BUILDING
LOCATION | ZAMBOANGA CITY
SUBJECT | DETAILED ESTIMATE
OWNER | Montenegro Shipping Lines Inc.
SUMMARY OF ESTIMATED PROJECT CONSTRUCTION COST
I- General Requirements |  |  |  | Php | 335200
II- Structural Works |  |  |  | Php | 1676676.8
III- Plumbing Works |  |  |  | Php | 148455
IV- Electrical Works |  |  |  | Php | 144585
V-Architectural Works |  |  |  | Php | 731943
VI- Carpentry Works |  |  |  | Php | 318150
VII- Miscellaneous |  |  |  | Php | 131300
DIRECT COST
OVERALL MATERIALS COST |  |  |  | Php | 3486309.8
OVERALL LABOR COST |  |  |  | Php | 1568839.41
TOTAL ESTIMATED DIRECT COST |  |  |  | Php | 5055149.21
INDIRECT COST
PROFIT (CONTRACTORS FEE) |  |  | 10% | Php | 505514.921
OCM (OVERHEAD, CONTINGENCIES,MISCELLANEOUS) |  |  | 5% | Php | 439335.8705
TOTAL ESTIMATED INDIRECT COST |  |  |  | Php | 944850.7915
13421.59
TOTAL PROJECT CONSTRUCTION COST |  |  |  | Php | 6000000.0015
PREPARED BY:
ENGR. ABDURAUF I. SAWADJAAN |  |  | Gerald Panopio Manalo
Managing Director |  |  | Representative
I- General Requirements
Description | Quantity | Unit |  | Amount
A. Mobilization and Demobilization
Mobilization and Set-up | 1 | lot | 30000 |  | 30000
Bunkhouse | 1 | lot | 10000 |  | 10000
|  |  | sub-total | php | 40000
B. Demolition Works
Demolition of Exisiting Structures | 1 | lot | 20000 |  | 20000
|  |  | sub-total | php | 20000
C. Building Permit Processing
Structural, Plumbing and Electrical Plan | 1 | lot | 60000 |  | 60000
Soil Boring Test | 1 | lot | 35000 |  | 35000
Fire Detection and Alarm System | 1 | lot | 10000 |  | 10000
DOLE | 1 | lot | 8000 |  | 8000
BFP Forms and Approval | 1 | lot | 10000 |  | 10000
Notary Public | 1 | lot | 2000 |  | 2000
Processing Fee | 1 | lot | 5000 |  | 5000
|  |  | sub-total | php | 130000
D. Ground Preparations
Clearing and Grubbing | 240 | sqm | 55 | Php | 13200
Excavation and Levelling/Layout | 96 | cu.m | 120 | Php | 11520
Filling and Compaction (Gravel Base) | 96 | cu.m | 1200 | Php | 115200
Subgrade Compaction | 240 | sqm | 22 | Php | 5280
|  |  | sub-total | php | 145200
|  |  | Total | php | 335200
II- Structural Works
Materials :
Description | Quantity | Unit |  | Amount
A. Footings/Foundation
Cement | 142 | bags | 240 | Php | 34080
Sand | 7.875 | cu.m | 1500 | Php | 11812.5
Gravel | 15.75 | cu.m | 1500 | Php | 23625
Tie Wire | 18 | kg | 95 | Php | 1710
16mm Ø X 7.5m | 55 | pcs | 460 | Php | 25300
12mm Ø X 7.5m | 45 | pcs | 310 | Php | 13950
|  |  | sub-total | php | 110477.5
B. Columns
Cement | 72 | bags | 240 |  | 17280
Sand | 4.29 | cu.m. | 1500 |  | 6435
Gravel | 6.58 | cu.m. | 1500 |  | 9870
16mm x 6m def. bar G33 | 68 | pcs | 460 |  | 31280
10mm x 6m def. bar G33 | 91 | pcs | 230 |  | 20930
#16 G.I. Tie Wire | 12 | kgs | 95 |  | 1140
|  |  | sub-total | php | 86935
C. Beams
Cement | 249 | bags | 240 |  | 59760
Sand | 13.8 | cu.m. | 1500 |  | 20700
Gravel | 27.6 | cu.m. | 1500 |  | 41400
16mmx6m def bar | 135 | pcs | 460 |  | 62100
10mmx6m def bar | 248 | pcs | 230 |  | 57040
#16 G.I. Tie Wire | 46 | kgs | 90 |  | 4140
|  |  | sub-total | php | 245140
D. Groundfloor Slab on grade
Cement | 432 | bags | 240 |  | 103680
Sand | 18 | cu.m. | 1500 |  | 27000
Gravel | 36 | cu.m. | 1500 |  | 54000
12mmx6m def bar | 287 | pcs | 310 |  | 88970
#16 G.I. Tie Wire | 37.5 | kgs | 95 |  | 3562.5
|  |  | sub-total | php | 277212.5
E. 2nd Floor Slab
Steel Deck Sheet (Effective Width 1m) | 97.01 | sqm | 930 |  | 90219.3
Blind Rivets with Washer | 300 | pcs | 5 |  | 1500
Metal Furring for support under decking (38mm x 38mm x 0.6mm thick) | 60 | pcs | 160 |  | 9600
Carrying Channel | 20 | pcs | 250 |  | 5000
Cement | 92 | bags | 270 |  | 24840
Sand | 5 | cu.m. | 1500 |  | 7500
Gravel | 7 | cu.m. | 1500 |  | 10500
10mmx6m def bar | 180 | pcs | 230 |  | 41400
#16 G.I. Tie Wire | 52 | kgs | 95 |  | 4940
Welding Rods | 2 | kg | 300 |  | 600
Solvent Cement | 2 | cans | 180 |  | 360
|  |  | sub-total | php | 196459.3
F. Septic Tank
Cement | 20.4 | bags | 240 |  | 4896
Sand | 1.429 | cu.m. | 1500 |  | 2143.5
Fine Sand | 0.5 | cu.m. | 1800 |  | 900
Gravel | 2.86 | cu.m. | 1500 |  | 4290
12mm x 6m def. bar G33 | 6 | pcs | 330 |  | 1980
10mm x 6m def. bar G33 | 5 | pcs | 230 |  | 1150
#16 G.I. Tie Wire | 5 | kgs | 90 |  | 450
4" CHB | 313 | pcs | 18 |  | 5634
4" PVC Sanitary Pipe | 4 | pcs | 1150 |  | 4600
6" PVC Sanitary Pipe | 4 | pcs | 1150 |  | 4600
PVC Fittings | 5 | pcs | 1150 |  | 5750
Solvent Cement | 2 | can | 128 |  | 256
|  |  | sub-total | php | 36649.5
G. Formworks and Scaffoldings
1/2" x 4' x 8' Phenolic Board | 50 | pcs | 1500 |  | 75000
1" x 2" x 12' Coco Lumber | 15 | pcs | 140 |  | 2100
2" x 2" x 12' Coco Lumber | 10 | pcs | 140 |  | 1400
2" x 3" x 12' Coco Lumber | 435 | pcs | 140 |  | 60900
2" x 4" x 12' Coco Lumber | 180 | pcs | 170 |  | 30600
Assorted Nails | 52 | kg | 90 |  | 4680
#16 G.I. Tie Wire | 20 | kgs | 95 |  | 1900
Scaffold Rental | 1 | lot | 12000 |  | 12000
Form Oil/Release Agent | 15 | liters | 100 |  | 1500
|  |  | sub-total | php | 190080
H. Pwd Ramp
Cement | 12 | bags | 240 |  | 2880
Sand | 0.66 | cu.m. | 1500 |  | 990
Gravel | 1.32 | cu.m. | 1500 |  | 1980
12mm x 6m def. bar G33 | 13 | pcs | 330 |  | 4290
Non-Slip Finish | 8 | cu.m. | 150 |  | 1200
Handrails | 8 | m | 300 |  | 2400
|  |  | sub-total | php | 13740
I. Wall and Fence
4" CHB | 6400 | pcs | 18 |  | 115200
Cement | 406 | bags | 240 |  | 97440
Sand | 32 | cu.m. | 1500 |  | 48000
Gravel | 1.28 | cu.m. | 1500 |  | 1920
12mmx6m def bar | 61 | pcs | 330 |  | 20130
10mmx6m def bar | 88 | pcs | 230 |  | 20240
#16 G.I. Tie Wire | 17 | kgs | 95 |  | 1615
|  |  | sub-total | php | 304545
J. Concrete Stairs
Cement | 54 | bags | 240 |  | 12960
Sand | 3.52 | cu.m. | 1500 |  | 5280
Gravel | 4.04 | cu.m. | 1500 |  | 6060
12mmx6m def bar | 21 | pcs | 330 |  | 6930
10mmx6m def bar | 20 | pcs | 230 |  | 4600
#16 G.I. Tie Wire | 6 | kgs | 95 |  | 570
|  |  | sub-total | php | 36400
K. Fabricated Steel Spiral Staircase
Cement | 2 | bags | 240 |  | 480
Sand | 0.2 | cu.m. | 1500 |  | 300
Gravel | 0.4 | cu.m. | 1500 |  | 600
10mmx6m def bar | 4 | pcs | 230 |  | 920
#16 G.I. Tie Wire | 1 | kgs | 95 |  | 95
Steel Tread Plates | 18 | pcs | 850 |  | 15300
Center Column | 1 | pc | 3800 |  | 3800
Stringer/Support Flat Bars | 30 | m | 150 |  | 4500
Handrail Pipe | 7 | m | 180 |  | 1260
Vertical Bar Railing | 45 | pcs | 75 |  | 3375
Base Plate and Anchors | 1 | lot | 800 |  | 800
|  |  | sub-total | php | 31430
L. Waiting Area Roofing
Pre-fabricated steel trusses, 6m span | 4 | pcs | 6000 |  | 24000
4” Ø GI pipe, 3.4m height | 4 | pcs | 1200 |  | 4800
0.5mm GI Sheets (6m x 1m) | 7 | pcs | 750 |  | 5250
6mm Hardiflex Ceiling Panels (1.2m x 2.4m) | 14 | pcs | 660 |  | 9240
Pipes for Vertical Support | 4 | pcs | 1200 |  | 4800
|  |  | sub-total | php | 48090
M. Main Building Roofing
Tubular 2 x 4 x 1.5 | 17 | pcs | 867 |  | 14739
0.4 thk. G.I. Roofing 39 ft. long | 7 | pcs | 4485 |  | 31395
C-Purlins 2 x 3 x 1.2 | 25 | pcs | 406 |  | 10150
C-Purlins 2 x 8 x 1.2 SENEPA | 7 | pcs | 1650 |  | 11550
10mm. DIA. x 6m Round Bar (Sagrod) | 5 | pcs | 205 |  | 1025
0.5 G.I. Gutter with Design | 6 | pcs | 550 |  | 3300
0.5 G.I. Flashing with Design | 8 | pcs | 550 |  | 4400
0.5 G.I. Ridge Roll | 3 | pcs | 550 |  | 1650
10mm. Double Insulation Foam | 85 | meters | 90 |  | 7650
Welding Rod | 16 | kg | 180 |  | 2880
1 1//2" Tekscrew | 420 | pcs | 2 |  | 840
1/8 x 1/2 Blind Rivet | 350 | pcs | 2 |  | 700
14" Cut Off Cutting Disk | 1 | pcs | 300 |  | 300
Grinding Disk | 1 | pcs | 75 |  | 75
Flap Disk Grit 100 | 1 | pcs | 40 |  | 40
Screwbit | 3 | pcs | 120 |  | 360
1/8 Drill Bit | 14 | pcs | 80 |  | 1120
3/16 x 1 1/2 x 1 1/2 (Purlins Cleat) | 2 | pcs | 647 |  | 1294
Vulcaseal | 11 | liters | 550 |  | 6050
|  |  | sub-total | php | 99518
|  |  | Total | php | 1676676.8
III- Plumbing Works
Materials :
Description | Quantity | Unit |  | Amount
A. Water Supply Lines
PPR Pipe 20mm Ø (Cold Water Line, Main and Branches) | 90 | meters | 65 |  | 5850
PPR Pipe 25mm Ø (Main Riser) | 30 | meters | 100 |  | 3000
PPR Elbow 90° 20mm | 20 | pcs | 25 |  | 500
PPR Elbow 90° 25mm | 8 | pcs | 35 |  | 280
PPR Tee 20mm | 10 | pcs | 30 |  | 300
PPR Tee 25mm | 4 | pcs | 45 |  | 180
PPR Male Adapter 20mm × 1/2" | 8 | pcs | 45 |  | 360
PPR Ball Valve 25mm | 2 | pcs | 350 |  | 700
PPR Ball Valve 20mm | 4 | pcs | 250 |  | 1000
PPR Pipe Hangers/Clamps 20mm | 30 | pcs | 10 |  | 300
|  |  | sub-total | Php | 12470
B. Sanitary Drainage lines
PVC Pipe 100mm Ø (Soil Stack) | 30 | meters | 360 |  | 10800
PVC Pipe 75mm Ø (Waste Lines) | 50 | meters | 250 |  | 12500
PVC Pipe 50mm Ø (Lavatory & Shower Drain) | 40 | meters | 190 |  | 7600
PVC Elbow 90° 100mm | 8 | pcs | 150 |  | 1200
PVC Elbow 90° 75mm | 10 | pcs | 110 |  | 1100
PVC Elbow 90° 50mm | 12 | pcs | 90 |  | 1080
PVC Tee 100mm | 4 | pcs | 220 |  | 880
PVC Tee 75mm | 6 | pcs | 160 |  | 960
PVC Tee 50mm | 6 | pcs | 100 |  | 600
PVC Wye 100mm × 100mm | 2 | pcs | 320 |  | 640
PVC Wye 75mm × 75mm | 2 | pcs | 220 |  | 440
PVC Clean-out Plug 100mm | 4 | pcs | 120 |  | 480
PVC Floor Drain 100mm (w/ Trap) | 3 | pcs | 550 |  | 1650
P-Trap 50mm (for Lavatories) | 3 | pcs | 180 |  | 540
PVC Pipe 50mm Ø (Vent Stack) | 30 | meters | 190 |  | 5700
|  |  | sub-total | Php | 46170
C. Storm Drainage lines
PVC Pipe 75mm Ø (Roof Drain Downspout) | 20 | meters | 250 |  | 5000
Roof Drain Strainer 75mm | 2 | pcs | 600 |  | 1200
|  |  | sub-total | Php | 6200
D. Supports and Miscellaneous
Solvent Cement 400cc | 4 | cans | 180 |  | 720
Teflon Tape 1/2" | 10 | pcs | 15 |  | 150
Pipe Hanger/Strap 50mm–100mm | 20 | pcs | 20 |  | 400
Fine Sand (for Pipe Bedding) | 1.5 | cu.m. | 1800 |  | 2700
|  |  | sub-total | Php | 3970
E. Toilet and Bath Fixtures
Water Closet | 3 | sets | 8500 |  | 25500
Lavatory | 3 | sets | 2550 |  | 7650
Faucet | 3 | sets | 875 |  | 2625
Bidet | 3 | sets | 1125 |  | 3375
Shower | 2 | sets | 5500 |  | 11000
Toilet Drain | 3 | pcs | 450 |  | 1350
Ceiling Exhaust | 3 | pcs | 2400 |  | 7200
Gate Valve 1/2 Plastic | 3 | pcs | 315 |  | 945
|  |  | sub-total | Php | 59645
F. Water Tank
Water Tank and Accessories | 1 | lump sum | 20000 |  | 20000
|  |  | sub-total | Php | 20000
|  |  | Total | Php | 148455
IV- Electrical Works
Materials :
Description | Quantity | Unit |  | Amount
A. Lighting System
LED Pinlights 12W (Indoor) | 75 | pcs | 375 |  | 28125
Outdoor LED Pinlights 15W | 10 | pcs | 465 |  | 4650
Outdoor Wall Lights | 8 | pcs | 765 |  | 6120
Bed Frame LED Light | 1 | set | 3500 |  | 3500
Switches (single gang, 10A) | 20 | pcs | 165 |  | 3300
Switches (double gang, 10A) | 8 | pcs | 185 |  | 1480
|  |  | sub-total | Php | 47175
B. Power System
Duplex Convenience Outlet (15A) | 23 | pcs | 155 |  | 3565
Quad Convenience Outlet (15A) | 6 | sets | 255 |  | 1530
Weatherproof Outlet for Parking Area | 1 | pcs | 565 |  | 565
|  |  | sub-total | Php | 5660
C. Wiring and Conduits
THHN Wire #14 AWG (for lighting) | 4 | rolls | 3800 |  | 15200
THHN Wire #12 AWG (for outlets) | 3 | rolls | 4200 |  | 12600
THHN Wire #8 AWG (for aircon) | 1 | roll | 6800 |  | 6800
THHN Wire #10 AWG (for AC and signage) | 2 | rolls | 3700 |  | 7400
PVC Pipe 20mm (conduit for lights & outlets) | 50 | pcs | 65 |  | 3250
PVC Pipe 32mm (conduit for AC and heavier load) | 20 | pcs | 120 |  | 2400
Junction Box 4"x4" | 40 | pcs | 65 |  | 2600
Utility Box (switches/outlets) | 35 | pcs | 45 |  | 1575
Electrical Tape | 15 | rolls | 55 |  | 825
Cable Ties | 5 | packs | 120 |  | 600
Clamp and Conduit Accessories | 1 | Lot | 3500 |  | 3500
|  |  | sub-total | Php | 56750
D. Panelboards, Breakers, and Controls
Main Panelboard with 24 slots (MCCB) | 1 | set | 10500 |  | 10500
Bolt-on Breakers 15A (Lighting) | 6 | pcs | 450 |  | 2700
Bolt-on Breakers 20A (Outlets) | 6 | pcs | 500 |  | 3000
Bolt-on Breakers 30A (Aircons) | 1 | pc | 650 |  | 650
Bolt-on Breakers 25A (Aircon) | 1 | pc | 600 |  | 600
Bolt-on Breakers 20A (Aircon) | 1 | pc | 550 |  | 550
Sub Panelboard for Second Floor | 1 | set | 6500 |  | 6500
Disconnect Switch for Aircons (Outdoor) | 3 | sets | 3500 |  | 10500
|  |  | sub-total | Php | 35000
|  |  | Total | Php | 144585
V-Architectural Works
Materials :
Description | Quantity | Unit |  | Amount
A. Ceiling Finishes
Hardiflex board (4×8 ft, 6 mm) | 39 | sheets | 1294 |  | 50466
Carrying channel (12×38×5 m, 0.7 mm) | 14 | pcs | 148 |  | 2072
Double-furring channel (19×50×5 m, 0.5 mm) | 52 | pcs | 308 |  | 16016
Wall angle L (25×25×3 m, 0.4 mm) | 16 | pcs | 81 |  | 1296
Hanger wire (galv. #14, 2.5 mm, 100 m) | 1 | coil | 750 |  | 750
Tex screws (#8 × 2″) | 2000 | pcs | 3 |  | 6000
Blind rivets (4×12 mm) | 200 | pcs | 8 |  | 1600
Bubble insulation (double-foil, 1.2×20 m) | 8 | rolls | 3200 |  | 25600
Wall angle L (25×25×3 m, 0.4 mm) | 16 | pcs | 81 |  | 1296
Primer (interior) | 10 | liter | 650 |  | 6500
Expansion joint strip | 20 | m | 65 |  | 1300
|  |  | sub-total | Php | 112896
B. Painting Works (Walls in&out, Ceiling and Doors)
Paint Interior | 43 | gals | 779 |  | 33497
Paint Exterior | 25 | gals | 985 |  | 24625
Miscellaneous tools | 1 | lot | 10000 |  | 10000
|  |  | sub-total | Php | 68122
C. Tile Works
Tiles(Floor + Outdoor Wall) | 1139 | pcs | 265 |  | 301835
Tile Adhesive | 85 | bags | 450 |  | 38250
Tile Grout | 43 | packs | 180 |  | 7740
|  |  | sub-total | Php | 347825
D. Doors and Windows
Fixed Window (3427x1250) | 1 | set | 14500 |  | 14500
Sliding Window (2101x1200, 3-panel) | 2 | set | 12000 |  | 24000
Awning Window (1200x600, double awning) | 2 | set | 7000 |  | 14000
Awning Window (550x550) | 1 | set | 4500 |  | 4500
Sliding Window (1500x1200, 3-panel) | 4 | set | 9000 |  | 36000
Awning Window (600x600) | 2 | set | 4800 |  | 9600
Main Door (900x2100, solid core) | 3 | set | 10500 |  | 31500
PWD Toilet Door (1100x2100, solid core) | 1 | set | 11500 |  | 11500
Sliding Door (1400x2100, aluminum + glass) | 1 | set | 13500 |  | 13500
Bedroom Doors (900x2100, solid core) | 2 | set | 9500 |  | 19000
Toilet & Bath Doors (700x2100, PVC or lightweight solid) | 2 | set | 7000 |  | 14000
Fire Exit Door (900x2100, solid core panel with panic bar optional) | 1 | set | 11000 |  | 11000
|  |  | sub-total | Php | 203100
|  |  | Total | Php | 731943
VI- Carpentry Works
Materials :
Description | Quantity | Unit |  | Amount
A. Warehouse Cabinet/Shelves
Marine Plywood (Premium) | 18 | sheets | 1800 |  | 32400
Formica Laminates | 14 | sheets | 2600 |  | 36400
Glass panels (6mm) | 10 | panels | 1600 |  | 16000
Soft-close Hinges/Slides | 30 | pcs | 450 |  | 13500
Handles (Stainless/Matte) | 15 | pcs | 250 |  | 3750
Finishing materials | 1 | lot | 8000 |  | 8000
|  |  | sub-total | Php | 110050
B. Office Full Wall Shelves/Cabinet
Marine Plywood (18mm cabinet grade) | 20 | sheets | 1800 |  | 36000
Marine Plywood (6mm) | 8 | sheets | 950 |  | 7600
Formica Laminates (Matte and Woodgrain) | 16 | sheets | 2600 |  | 41600
Grooved PVC Panels / Fluted Laminates | 12 | panels | 2000 |  | 24000
6mm White Panels | 6 | panels | 1600 |  | 9600
High-end Soft-close Hinges and Drawer Slides | 24 | pcs | 500 |  | 12000
Handles (small, minimalist) | 12 | pcs | 350 |  | 4200
Finishing Materials (PU paint/topcoat) | 1 | lot | 10000 |  | 10000
|  |  | sub-total | Php | 145000
F. Ticketing Office Cabinetry/ Shelves
Marine Plywood (18mm cabinet grade) | 8 | sheets | 1800 |  | 14400
Formica Laminates (Black) | 8 | sheets | 2600 |  | 20800
Cabinet Shelves (Fixed or Adjustable) | 8 | pcs | 500 |  | 4000
High-end Soft-close Hinges and Drawer Slides | 8 | pcs | 500 |  | 4000
Grooved PVC Panels | 5 | panels | 2000 |  | 10000
Screws and Fasteners | 1 | packs | 500 |  | 500
Edge banding | 8 | meters | 300 |  | 2400
Miscellaneous tools | 1 | lot | 2000 |  | 2000
Finishing Materials (PU paint/topcoat) | 1 | lot | 5000 |  | 5000
|  |  | sub-total | Php | 63100
|  |  | Total | Php | 318150
VII- Miscellaneous
Materials :
Description | Quantity | Unit |  | Amount
A. Claddings
Wood Panels(Standard Cladding) | 8 | sheets | 1300 |  | 10400
Wooden Battens/Frames (for support) | 1 | packs | 900 |  | 900
Cladding Adhesive or Screws | 1 | packs | 400 |  | 400
Miscellaneous (Tools, Glue, etc.) | 1 | lot | 500 |  | 500
2x4 Tubular Steel (White Powder-Coated) | 8 | pcs | 3000 |  | 24000
Red Oxide Primer (For Steel) | 1 | can | 500 |  | 500
Red Oxide Paint (Finish) | 2 | cans | 1800 |  | 3600
Cladding Mounting Accessories (Screws, Brackets, etc.) | 1 | packs | 1000 |  | 1000
|  |  | sub-total | Php | 41300
B. Railings
Steel for Railings at Stairs | 1 | lot | 10000 |  | 10000
|  |  | sub-total | Php | 10000
C. Signages
Acrylic Lettering for Office Room Non Lighted (MONTENEGRO LINES) | 1 | pcs | 15000 |  | 15000
Acrylic Logo and Lighted (OUTDOOR SIGNAGE) | 1 | pcs | 35000 |  | 35000
Stainless Steel Channel Lettering Non Lighted (MONTENEGRO LINES AND TICKETING OFFICE) | 2 | pcs | 15000 |  | 30000
|  |  | sub-total | Php | 80000
|  |  | Total | Php | 131300
……....................................NOTHING FOLLOWS……....................................
Notes:
1. Water and electric bill should be paid by the owner.
2. Excluded: Electronic Devices, Displays and others not listed above.
Detailed Estimate

## Sheet1
PROJECT CONSTRUCTION ESTIMATE
PROJECT TITLE | Extension of Waiting Area
LOCATION | ZAMBOANGA CITY
SUBJECT | DETAILED ESTIMATE
OWNER | Montenegro Shipping Lines Inc.
SUMMARY OF ESTIMATED PROJECT CONSTRUCTION COST
I- Waiting Area Extension (5m x 6.22m) |  |  |  | Php | 133020
DIRECT COST
OVERALL MATERIALS COST |  |  |  | Php | 133020
OVERALL LABOR COST |  |  |  | Php | 73161
TOTAL ESTIMATED DIRECT COST |  |  |  | Php | 206181
INDIRECT COST
PROFIT (CONTRACTORS FEE) |  |  | 12% | Php | 24741.72
OCM (OVERHEAD, CONTINGENCIES,MISCELLANEOUS) |  |  | 8% | Php | 16494.48
TOTAL ESTIMATED INDIRECT COST |  |  |  | Php | 41236.2
13421.59
TOTAL PROJECT CONSTRUCTION COST |  |  |  | Php | 247417.2
PREPARED BY:
ENGR. ABDURAUF I. SAWADJAAN |  |  | Gerald Panopio Manalo
Managing Director |  |  | Representative
I- Waiting Area Extension (5m x 6.22m)
Description | Quantity | Unit |  | Amount
A. Mobilization and Demobilization
Mobilization | 1 | lot | 10000 |  | 10000
|  |  | sub-total | php | 10000
B. Floor Finish
Surface Preparation | 31 | sqm | 80 |  | 2480
Accrex Floor Coating | 31 | sqm | 450 |  | 13950
|  |  | sub-total | php | 16430
C. Roofing Works
Pre-fabricated Steel Trusses (6m span) | 5 | pcs | 7500 |  | 37500
4” GI Pipe Posts (3.4m height) | 6 | pcs | 1200 |  | 7200
0.5mm GI Sheets Roofing | 8 | pcs | 750 |  | 6000
Hardiflex Ceiling Panels | 18 | pcs | 660 |  | 11880
Misc. Pipes & Supports | 1 | lot | 10000 |  | 10000
|  |  | sub-total | php | 72580
D. Electrical Works
LED Pinlights (12W) | 8 | pcs | 450 |  | 3600
Wiring, Conduits, Junction Boxes | 1 | lot | 12000 |  | 12000
Switches & Controls | 1 | lot | 3500 |  | 3500
|  |  | sub-total | php | 19100
E. Painting Works( Ceiling and Post)
Ceiling Surface Preparation | 31 | sqm | 120 |  | 3720
Ceiling Painting (Latex, 2 coats) | 31 | sqm | 210 |  | 6510
GI Pipe Posts Surface Prep (sanding, primer) | 6 | pcs | 280 |  | 1680
GI Pipe Posts Painting (Enamel, 2 coats) | 6 | pcs | 500 |  | 3000
|  |  | sub-total | php | 14910
……....................................NOTHING FOLLOWS……....................................
Notes:
1. Water and electric bill should be paid by the owner.
2. Excluded: Electronic Devices, Displays and others not listed above.
[7 empty] | Description | Qty | Unit | Unit Cost | Amount
[7 empty] | Ceiling Surface Preparation | 31 | sqm | 80 | 2480
|  | LED Pinlights (12W) | 8 | pcs | 450 | 3600 | Ceiling Painting (Latex, 2 coats) | 31 | sqm | 180 | 5580
|  | Wiring, Conduits, Junction Boxes | 1 | lot | 8000 | 8000 | GI Pipe Posts Surface Prep (sanding, primer) | 6 | pcs | 250 | 1500
|  | Switches & Controls | 1 | lot | 2500 |  | GI Pipe Posts Painting (Enamel, 2 coats) | 6 | pcs | 400 | 2400
[7 empty] | Labor | 1 | lot | 6000 | 6000
|  | Excavation & Base Preparation | 31 | sqm | 250 | 7750 | Subtotal E |  |  |  | 17960
|  | Gravel Bedding (100mm) | 3.1 | cu.m | 1500 | 4650
|  | Reinforcing Steel Bars (10mm @ 0.20 spacing) | 350 | kg | 75 | 26250
|  | Formworks & Accessories | 31 | sqm | 450 | 13950
|  | Concrete (Class A, 0.10m thick) | 3.1 | cu.m | 5500 | 17050
|  | Labor (Concreting Works) | 1 | lot | 18000 | 18000
|  | Pre-fabricated Steel Trusses (6m span) | 5 | pcs | 6000 | 30000
|  | 4” GI Pipe Posts (3.4m height) | 6 | pcs | 1200 | 7200
|  | 0.5mm GI Sheets Roofing | 8 | pcs | 750 | 6000
|  | Hardiflex Ceiling Panels | 18 | pcs | 660 | 11880
|  | Misc. Pipes & Supports | 1 | lot | 6000 | 6000
|  | Labor (Installation) | 1 | lot | 20000
Detailed Estimate